POSSUM VALLEY

MUNICIPAL AUTHORITY

609 Clearview Road
Aspers, Pa 17304
(717)  677-8551

(717)  677-4703 (Fax)

RULES & REGULATIONS

SANITARY SEWER SYSTEM






Adopted August 26, 1985









Revised March 16, 1993









Revised February 12, 2004








Revised December 4, 2008









Revised December 8, 2016









Revised January 5, 2017








Revised September 9, 2021









Revised January 13, 2022

TABLE OF CONTENTS

Resolution……………………………………………….................................................3 
Section I

Definitions………………………………………………………….................................4
Building Sewers and Connections. ……………………………………………………7
Building Sewers and Connection to Sewers………………………..............................8
Prohibited Wastes and Industrial Wastes…………………………………………….8
Regulations Governing Admission of Industrial Wastes


Into the Sewage Collection system…………………………………………….11
Access………………………………………………………………...............................14

Installation of Building Sewer………………………………………………………...15
Section II

Solids Retaining Tanks & Pumping Stations………………………………………...21
Section III
Capital Charges Fee for Sewer Service………………………………………………22
Section IV
Sewer Rentals or Charges…………………………………………..............................23
Time and Method of Payment………………………………………………………...25
Change in Address, Ownership or Tenancy…………………………………………26
Enforcement……………………………………………………….…………………...26
Section V
Additional Provisions of this Resolution…………………………..............................27
POSSUM VALLEY MUNICIPAL AUTHORITY

ADAMS COUNTY, PENNSYLVANIA

RESOLUTION

IMPOSING RATES, RULES AND REGULATIONS GOVERNING SEWER SERVICE WHEN OBTAINED FROM THE SEWER SYSTEM OF THIS AUTHORITY; CHARGING A CONNECTION FEE PROVIDING FOR THE PAYMENT OF SUCH CONNECTION FEE; IMPOSING A CHARGE FOR SEWER CAPACITY RESERVED; PROVIDING FOR THE PAYMENT AND COLLECTION OF SUCH CHARGES; AND IMPOSING SEWER RENTAL AND CHARGES FROM THE OWNER OF EACH IMPROVED PROPERTY WHICH SHALL BE CONNECTED TO THE SEWER SYSTEM; OWNERSHIP TRANSFER FOR CURRENT OR REQUIRED COMMERCIAL PUMP STATIONS

WHEREAS, this Authority, pursuant to authority vested in it by law, plans to construct and operate a complete sanitary sewage system for rendering sewage service for certain portions of the Borough of Bendersville (The “Borough”) and certain portions of the Township of Menallen all of which facilities, together with all additions, extensions and improvements which may be made or acquired from time to time, are referred to as the “Sewer System”; 

and


WHEREAS, this Authority has power and authority to impose Rules and Regulations governing sewer service when obtained from the Sewer System of the Authority; and


WHEREAS, this Authority has power and authority to charge a connection fee whenever the owners of any property connects such property with a sewer main of the Authority, as provided in the Pennsylvania Municipality Authorities Act, as amended and supplemented, and desires to impose and charge Capital Charges Fee; and


WHEREAS, this Authority has power and authority to impose sewer rentals or charges for use of the sewage facilities owned and operated by this Authority and for collecting, transporting and treatment of waste discharges thereto, and providing a method of payment for such sewer rentals or charges.


NOW, THEREFORE, BE IT RESOLVED, by the Board of this Authority, as follows:

SECTION I

RULES AND REGULATIONS

SEWER SYSTEM


Definitions:  Unless the context specifies and clearly indicated otherwise, the 
meaning of items and phrased pertaining to this Resolution shall be as follows:

A. “Authority” means Possum Valley Municipal Authority, a Pennsylvania 
municipality authority.


B. “B.O.D.” (Biochemical Oxygen Demand) means the quantity of oxygen expressed 
in ppm.  Utilized in the biochemical oxidation of organic matter under standard 
laboratory procedure for 5 days at 20 degrees Centigrade.  The standard laboratory 
procedure shall be that found in the latest edition of “Standard Methods for the 
Examination of Water and Wastewater: published by the American Public Health 
Association.


C. “Borough” means the Borough of Bendersville, Adams County, Pennsylvania, 
acting by and through its Borough Council.


D. “Building Drain Clean-out” means a clean-out on the building drain just inside 
or outside the building wall through which the sewer may be cleaned.  In the case of 
existing construction a clean-out shall be located on the Service Line.


E. “Building Sewer” means the extension from the sewage drainage system of any 
structure to the Lateral of the Sanitary Sewer System.


F. “Building Trap” means a device, fitting or assembly of fittings installed on the 
building drain to prevent circulation of air between the drainage system of the building 
and the Service Line.  In the case of existing construction, the Building Trap shall be 
located on the Service Line.


G. “Capital Charges” means fees to be paid for new connection to the Sewer System or 
those customers increasing their need for Sewer capacity.  Fees are to be calculated in accordance 
with the Municipal Authorities Act and be duly adopted by the Authority


H. “Cellar Drain” means a protected and trapped drain for the purpose of carrying off 
spent water from the basement of a dwelling, factory, laboratory, workshop or other 
building, but excluding any drainage from rain water, springs, wells, or other ground or 
surface water.


I. “Developer” means any landowner who makes or causes to be made a subdivision 
of land or a land development.

J. “Department of Environmental Protection” means the Department of 
Environmental Protection of the Commonwealth of Pennsylvania, or its successor in 
authority.


K. “DEP Permit” means the permit(s) which is required by the Department of 
Environmental Protection of the Commonwealth of Pennsylvania for the construction of 
a new sanitary sewer 
line or the extension of an existing sanitary sewer system.

L. “Dwelling Unit” means a building under one roof and occupied by one family or 
one business; or


1. A combination of buildings in one enclosure or group and occupied by one 


family or one business; or



2. One side of a double building or house having a solid vertical partition wall; or



3. Each room or group of rooms in a building occupied or intended for occupancy 


as a separate business or as separate living quarters by a family or other group of 


persons living together or by a person living alone; or



4. Each apartment, office or suite of offices in a building or house having several 


such apartments, offices or suites of offices and using in common one or more 


hallways and one or more means of entrance; or


5. Any trailer or mobile home occupied by one family or business: or



6. Any other unit or category listed in the schedule of EDU’s set in Section III.


M. “Fresh Air Vent” means a direct connection leading from the Building Trap to the 
outer air.  In the case of existing construction, the Fresh Air Vent shall be located outside 
the building.


N. “Improved Property” means any property located within this Township and/or 
Borough upon which there is erected a structure intended for continuous or periodic 
habitation, occupancy or use by human beings or animals and from which structure 
Sanitary Sewage and/or Industrial Wastes shall be or may be discharged.

O. “Inspection Port” means the aperture utilized at or near the septic tank to inspect the flow of sewage from the building to the tank.  In the event of a blockage in the line the inspection port is checked for blockage.  If the port is clear then the blockage is in the owners sewer lateral and the owners responsibility to have cleaned by an authorized plumber at their expense. 


P. “Industrial Establishment” means any room, group of rooms, building or other 
enclosure used or intended for use in the operation of one business enterprise for 
manufacturing, processing, cleaning, laundering or assembling any product, commodity 
or article, or from which process waste, as distinct from Sanitary Sewage, shall be 
discharged.

Q. “Industrial Wastes” means any and all wastes and wastewaters discharged from 
an Industrial Establishment other than Sanitary Sewage.


R. “Land Development” means the improvement of one lot or two or more 
continuous lots, tracts or parcels of land for any purpose involving (1) a group of two or 
more buildings, or (2) the division or allocation of land or space between or among two 
or more existing or prospective occupants by means of, or for the purpose of streets, 
common areas, leaseholds, condominiums, buildings groups or other features, or (3) any 
other project requiring the approval of the Township or the Borough pursuant to any Act 
or Ordinance.

S. “Planning Module for Land Development” means the Modules or the 
Planning Module Exemption as required by the Pennsylvania Department of 
Environmental Protection under Act 537, the Pennsylvania Sewage Facilities Act.

T. “Lateral” means that part of the Sewer System extending from a Sewer to the curb 
line, or if there shall be no curb line, to the property line or, if no such Lateral shall be 
provided, then ”Lateral” shall mean that portion of or place in a Sewer which is provided 
for connection of any Building Sewer.

U. “Owner” means any Person vested with ownership, legal or equitable, sole or 
partial, of any Improved Property.


V. “Person” means any individual, partnership, company association society, 
corporation or 
other group or entity.

W. “pH” means the logarithm of the reciprocal of the concentration of hydrogen ions, 
expressed in grams per liter of solution, indicating the degree of acidity or alkalinity of a 
substance.


X. “Plumbing Inspector” means the person or persons appointed by the Authority 
to enforce the terms of these Rules and Regulations.


Y. “Sanitary Sewage” means normal water-carried household and toilet wastes from 
any Improved Property.


Z. “Sewer” means any pipe or conduit constituting a part of the Sewer System used or 
usable for sewage collection purposes.


AA. “Sewer System” means all facilities as of any particular time, for collecting, 
pumping, transportation, treating or disposing of Sanitary Sewage and Industrial Wastes, 
to be owned by the Authority


BB. “Solids Retaining Tank” means a concrete, watertight tank designed to receive 
wastewater from a home or business, provide solid/liquid separation provide solids 
storage and to allow clarified liquid discharge for further treatment and disposal.


CC. “Storm Sewer or Drain” means a pipe or conduit which carries storm, surface 
water, 
drainage and certain industrial waste discharges, such as cooling and air 
conditioning water.

DD. “Subdivision” means the division of a single lot, tract or parcel of land, or part 
thereof, into two or more lots, tracts or parcels of land, including charges in street lines or 
lot lines for the purposes, whether immediate or future, of improvement and 
development.


EE. “Suspended Solids” means Suspended Solids as determined pursuant to the 
procedure set forth in the latest edition of “Standard Methods for the Examination of 
Water and Wastewater published by the American Public Health Association.

FF. “Township” means the Township of Menallen, Adams County, Pennsylvania, 
acting by and through its Board of Supervisors.
BUILDING SEWERS AND CONNECTIONS


A. No Person shall uncover, connect with, make any opening into or use, alter or disturb, 
in any manner any Sewer or the Sewer System without first making application for and 
securing a permit, in writing, from this Authority.


B. Application for a permit shall be made by the Owner of the Improved Property to be 

served or his duly authorized agent.


C. No Person shall make, or cause to be made, a connection of any Improved Property to 
the Sanitary Sewer System until such Person shall have fulfilled each of the following 
conditions:



1. Such Person shall have notified the Authority of the desire and intention to 


connect such Improved Property to a Sewer.


2. Such Person shall have paid to the Authority any fee charged and imposed by 


the Authority, as required under Section II of these Rules and Regulations.


3. Such Person shall have given the Authority at least 24 hours notice of the time 


when such connection will be made so that this Authority may supervise and 


inspect the work of connection and necessary testing.


D. Each Improved Property shall be connected separately and independently with a 
Sewer through a Building Sewer.  Grouping of more than one Improved Property on one 
Building Sewer shall not be permitted, except under special circumstances and for good 
sanitary reasons or other good cause shown, and then only after special permission of this 
Authority, in writing, shall have been secured and subject to such rules, regulations and 
conditions as may be prescribed by this Authority.

E. All costs and expenses of construction of a Building Sewer and all costs and expenses 
of connection of a Building Sewer to a Sewer shall be borne by the Owner of the 
improved Property to be connected; and such Owner shall indemnify and save harmless 
the Township, the Borough, and the Authority, from all loss or damage that may be 
occasioned, directly or indirectly, as a result of construction of a Building Sewer or of 
connection of a Building Sewer to a Sewer.



F. A Building Sewer shall be connected to a Sewer at the place designated by this 
Authority and where the Lateral is provided.  The invert of a Building Sewer at the point 
of a gravity connection shall be at the same or higher elevation than the invert of the 
Sewer, unless the connection is a pressure connection from a force main discharge, as 
approved by this Authority.  The connection of a Building Sewer to the Lateral shall be 
made secure and watertight.


G. Acquisition of any and all easements or right-a-ways needed to connect an Improved 
Property to the Public Sewer shall be the sole responsibility of the Owner of such 
Improved Property.


F. Every Building Sewer of any Improved Property shall be maintained in a sanitary and 
safe operating condition by the Owner of such Improved Property.

G. Every excavation for a Building Sewer shall be guarded adequately with barricades 
and lighted to protect all Persons from damage and injury.  Streets, sidewalks and other 
public property disturbed in the course of installation of a Building Sewer shall be 
restored, at the cost and expense of the Owner of the Improved Property being connected, 
in a manner satisfactory to this Authority.


H. If any Person shall fail or refuse, upon receipt of a notice of this Authority, in writing, 
to remedy any unsatisfactory condition with respect to a Building sewer, within 60 days 
of receipt of such notice, this Authority may refuse to permit such Person to discharge 
Sanitary Sewage and Industrial Wastes into the Sewer System until such unsatisfactory 
condition shall have been remedied to the satisfaction of the Authority.

BUILDING SEWERS AND CONNECTIONS TO SEWERS


A. Where an Improved Property, at the time of connection to a Sewer is required, shall be 
served by its own sewage disposal system or device, the existing house sewer line shall 
be broken on the structure side of such sewage disposal system or device and attachment 
shall be made, with proper fittings, to continue such house sewer line, as a Building 
Sewer.

B. No Building Sewer shall be covered until it has been inspected and approved by this 
Authority.  If any part of a Building Sewer is covered before so being inspected and 
approved, it shall be uncovered for inspection at the cost and expense of the Owner of the 
Improved Property to be connected to a Sewer.

PROHIBITED WASTES AND INDUSTRIAL WASTES

A. No Person shall discharge or cause to be discharged any storm water, surface water, 
spring water, ground water, roof runoff, and subsurface drainage, building foundation 
drainage, cellar drainage, drainage from roof leader connections and overflow or drainage 
from cesspools into any Sewer.

B. This Authority reserves the right to refuse permission to connect to the Sewage 
System, to compel discontinuance of use of the Sewage System, or to compel 
pretreatment of Industrial Wastes, in order to prevent discharges deemed harmful or to 
have a deleterious effect upon any Sewer, the Sewage System or the Wastewater 
Treatment Plant.


C. No Sanitary Sewage or Industrial Wastes shall be discharged to the Sewage Collection 
System:


1. Being harmful or deleterious to the Sewage System.


 
2. being inhibitory to the treatment process at the sewage treatment plant 



constituting part of the Sewage Disposal System.



3. Containing any gasoline, benzene, naphtha, fuel oil or other flammable or 


explosive liquids, solids or gases.



4. Carry fats, oils or greases in excess of 50 mg/l by weight.



5. Being discharged into the Sewage System at temperatures in excess of 105 


degrees F.



6. Being discharged into the Sewage System in batches of such volume as to tax 


the capacity of the Sewage System or adversely affecting the treatment process of 


the Sewage Disposal System.



7. Being of such color or other characteristic as to require special treatment to 


render the resulting effluent of the sewage treatment plant constituting part of the 


Sewage Disposal System acceptable for discharge to the receiving stream.



8. Being food wastes, garbage (unless treated in an approved manner), vegetable 


or fruit rinds, or paunch manure, feathers, bones, rags or any other solid, fibrous 


or viscous inorganic or organic substances which the Sewage System or Sewage 


Disposal System is not intended to receive.



9. Being of such character, concentration, volume or combination as to tax the 


capacity of the sewage treatment plant constituting part of the Sewage Disposal 


System.



10. Including synthetic, organic detergents or similar compounds in such volume 


as to interfere with the treatment process or the satisfactory operation of the 


sewage treatment plant constituting part of the Sewage Disposal System.



11. Including any liquids having a pH exceeding a minimum value of 6.0, or a 


maximum of 9.0, or found to be excessively corrosive.



12. Including any waters or wastes with a B.O.D. in excess of 225 mg/l by weight, 

unless 
otherwise approved in accordance with the surcharge formula.


13. Including any waters or wastes with a Suspended Solids content in excess of 


275 mg/l by weight, or containing Suspended Solids of such character and /or 


quantity that unusual attention or expense is required to handle and /or treat such 


materials, unless otherwise approved in accordance with the surcharge formula.


14.  Any water or waste containing any Toxic Substance, as defined below, in 


quantity sufficient to constitute a hazard to humans or animals or to interfere with 


any wastewater treatment process of the wastewater treatment plant or that will 


pass through the wastewater treatment plant in such condition so that it will 


exceed State, Federal or other validly exiting requirements.  Samplings taken to 


determine the maximum allowable concentration shall be at the point of discharge 

to the Sanitary Sewer System.

Toxic wastes shall include, but not be limited to the following:


Toxic Inorganic Substances


Max. Allowable Concentration



Aluminum (ionic form)

    
   

10.0 mg/l

       



Antimony





1.0 mg/l




Arsenic






0.1 mg/l


    


Barium






5.0 mg/l





Beryllium





1.0 mg/l





Boron






1.0 mg/l




Cadmium





0.02 mg/l




Chlorides





250 mg/l




Chromium, total





1.0 mg/l
       




Chromium (Hexavalent)




0.05 mg/l




Copper






0.5 mg/



Cyanide (total)





0.1 mg/l



Fluorides





1.5 mg/l



Iron






3.0 mg/l




Lead






0.05 mg/l




Manganese





3.0 mg/l




Mercury






0.002 mg/l




Nickel






0.5 mg/l




Selenium





0.1 mg/l




Silver






0.1 mg/l




Sulfate






360 mg/l




Tin






5.0 mg/l



Zinc






0.3 mg/l



Organic Compounds/Pollutants
        Max. Allowable Concentration 
  



Acetone






50.0 mg/l




Acrolein






0.2 mg/l



Acrylonitrile





0.2 mg/l




2, 4-dinitrophenol




0.5 mg/l




2-methyl-4, 6-dinitrophenol



0.5 mg/l




Alcohols (Total)





25.0 mg/l




Benzidine





50.0 mg/l




Chlorinated Hydrocarbons (Total)


       
2.0 mg/l



Chloroform





.01 mg/l




Ethylbenzene





1.0 mg/l




Hexachlorobenzene




2.0 mg/l





Pesticides & Herbicides (Total)


      
0.1 mg/l



MBA’s (Detergent)




1.0 mg/l




Methylene blue





50.0 mg/l




Methylene Chloride




0.2 mg/l


Organic Compounds/Pollutants
         Max. Allowable Concentration




Naphthalene





1.5 mg/l



Phenols






0.01 mg/l




Total Toxic Organics (TTO)



2.0 mg/l




Toluene






1.0 mg/l



15. Including any water or wastes with a total nitrogen in excess of 80 mg/l, by 


weight, or ammonia nitrogen in excess of 50 mg/l, unless otherwise approved in 


accordance with the surcharge formula.


16. Including any water or wastes with color (Platinum Cobalt Units) in excess of 


75.


17. Including any water or wastes with C.O.D. in excess of 500 mg/l (Surcharge 


will apply above 500 mg/l.)


18. Including any water or wastes with a total phosphorus in excess of 10 mg/l, by 

weight.



19. Including any waste having a chlorine demand in excess of ten (10) mg/l.



20. Including any ashes, cinders, sand, mud, straw, shavings, metal, glass, fur, 


plastics, wood, butcher’s offal, hair or any other solids or viscous substance 


capable of causing obstruction to the flow in sewers or the interference with the 


proper operation of the sewer system.



21. Including any inert, insoluble solids such as asphalt, clay, slag and mill scale, 


or sludge’s and slurries.


22. Including any waters or waste containing radioactive isotopes.



23. Any liquids, solids or gases which by reason of their nature or quantity are, or 


may be, sufficient either alone or by interaction with other substances to cause fire


or explosion or be injurious in any other way to the Wastewater Treatment 


Facility or to the operation of the Wastewater Treatment Facility.  At no time, 


shall two successive readings on an explosion hazard meter, at the point of 


discharge into the system (or at any 
point in the system) be more than five 


percent (5%) nor any single reading over ten percent (10%) of the Lower 



Explosive Limits (LEL) of the meter.  Prohibited materials 
include, but are not 


limited to , gasoline, fuel oil, kerosene, naptha, benzene, toluene, xylene, ethers, 


bromates, carbides, hydrides and sulfides and any other substances which the 


Borough or Township, the Commonwealth or the E.P.A. has notified the User is a 

fire hazard or found to be detrimental to the treatment process.


24. Any wastewater containing any substances which are not amenable to 



treatment or reduction by the biochemical wastewater treatment processes 



employed or are amenable to the treatment only to such a degree that the effluent 


of the sewage treatment works cannot meet the requirements of agencies having 


jurisdiction over the discharge to the 
receiving stream.


25. Any toxic substance not mentioned in the above list that will pass through the 


treatment works and exceed the maximum permitted levels for such substance 


under the requirements of state or other governmental agencies.



26. Including any substance prohibited by any permit issued by the 



Commonwealth of Pennsylvania.


27. Upon the promulgation of the Federal Categorical Pretreatment Standards for 


a particular industrial subcategory, the Federal Standard, if more stringent than 


limitations imposed under this regulation for sources in that subcategory, shall 


immediately supersede the limitations imposed under this regulation.  The 



Authority shall notify all affected Users of the applicable reporting requirements 


under 40 CFR, Section 403.12.


D. Where necessary all Owners shall install suitable pretreatment facilities, including 
grease traps, in order to comply with above paragraph.


Plans, specifications and any other pertinent information relating to proposed facilities for 
pretreatment and handling of wastes shall be submitted for approval of this Authority; 
and no construction of any such facility shall be commenced until approval thereof first 
shall have been obtained from any governmental body having jurisdiction.


Whenever facilities for pretreatment and handling of wastes shall have been provided by 
any Owner, such facilities continually shall be maintained, at the expense of such Owner, 
in satisfactory operating condition and this Authority shall have access to such facilities 
at reasonable times for purposes of inspection and testing.


E. Nothing contained in these Rules and Regulations shall be construed as prohibiting 
any special agreement or arrangement between this Authority and any Person whereby


Industrial Wastes may be admitted into the Sewage System by this Authority, after 
pretreatment and/or appropriate surcharge.
REGULATIONS GOVERNING ADMISSION OF

INDUSTRIAL WASTES INTO THE SEWAGE COLLECTION SYSTEM

A. No Person shall discharge or cause to be discharged into the Sewage System any 
Industrial Wastes except upon application to this Authority and upon receipt of a written 
permit therefore by this Authority.


B. Required Survey Data.  Any Person desiring to make or use a connection to the 
Sewage System through which Industrial Wastes shall be discharged into the Sewage 
Collection System shall file with this Authority an “Industrial Wastes Questionnaire:, to 
be furnished by this Authority, which shall supply to this Authority pertinent data 
including estimated quantity of flow, characteristics and constituents, with respect to 
Industrial Wastes proposed to be discharged into the Sewage System.  The cost of 
obtaining all such data shall be borne by the Person desiring to make or use a connection 
to the Sewage System.


C. Control Manholes.  Any Person who shall discharge Industrial Wastes into the Sewage 
System, when required by this Authority, shall construct and thereafter properly shall 
maintain, at his own expense, a suitable control manhole and other devices as may be 
required by this Authority to facilitate observation, measurement and sampling by this 
Authority of Industrial Wastes discharged to the Sewage System.  Any such control 
manhole, when required by this Authority, shall be constructed at an accessible, safe, 
suitable and satisfactory location in accordance with plans approved by this Authority 
prior to commencement of construction.

D. Changes in Type of Wastes.  Any Improved Property discharging Industrial Wastes 
into the Sewage System and contemplating a change in the method of operation which 
will alter the characteristics and/or volumes of wastes at the time being discharged into 
the Sewage Collection System will notify this Authority, in writing, at least sixty (60) 
days prior to consummation of such charge.


E. This Authority reserves the right to require Improved Properties having large variation 
in rates of waste discharge to install suitable regulating devices for equalizing waste 
flows to the Sewer System.


F. Where required, by the Authority, the user shall provide at his expense such 
preliminary treatment or handling as may be necessary to modify the objectionable 
characteristics or control the quantities and rates of discharge of such water or wastes as 
necessary to reduce B.O.D. to 225 mg/l, suspended solids to 275 mg/l and total solids to 
600 mg/l, or modify the objectionable characteristics to constituents to come within the 
maximum limits provided for in these Rules and Regulation.


Plans, specifications, an any other pertinent information relating to proposed preliminary 
treatment or handling facilities shall be submitted for the approval of the Authority and 
no construction of such facilities shall be commenced until written approval is obtained.


Where preliminary treatment facilities are provided, they shall be maintained 
continuously in satisfactory and effective operation at the User’s expense.  The Authority 
and/or its authorized representatives shall have continuous access to any preliminary 
treatment facilities for inspection.  Operations of and discharges from said facilities shall 
be subject to the requirements of all applicable Federal, State and local codes, ordinances, 
laws and regulations.  Operation and testing data from the pretreatment facilities shall be 
submitted to the Authority each week.


Industrial waste being discharged into the sewer system shall be subject to periodic 
sampling, testing and inspection.  The analyses of samples so obtained shall be the basis 
for computing additional charges in accordance with subparagraph L of this section 
governing admission of industrial waste into the Sewage Collection System.


All sample analysis shall be performed by a laboratory certified by the U.S. 
Environmental Protection Agency and in accordance with the latest edition of “Standard 
Methods for the Examination of Water and Sewage: published by the American Public 
Health Association, AWWA, and the WEF.

A normal sampling schedule including the analyses to be performed on the samples shall 
be included in the Industrial Waste Acceptance Agreement.  The cost of this sampling 
and testing shall be borne by the User and shall be shown as separate charges on the 
user’s sewer bills.

The Authority reserves the right to perform more frequent sampling and analyses at its 
own cost.


A user subject to periodic sampling may request that samples be taken in addition to the 
normal periodic samples taken by the Authority.  The cost of this sampling and analysis 
shall be borne by the User in addition to the cost for normal sampling and analysis.


G.  Any tank truck or any equipment used or intended to be used for the removal, 
transportation, and disposal of sewage and industrial wastes shall conform to the 
following requirements:



1.  The container shall be water tight.



2.  Tanks, containers, or other equipment shall be so constructed that every 


portion of the interior and exterior can be easily cleaned and shall be kept in the 


clean and sanitary condition.



3.  Piping, valves and permanent or flexible connections shall be accessible and 


easily disconnected for cleaning purposes.



4.  The inlet opening, or openings to every container, shall be so constructed that 


the material will not spill outside during filling, transfer, or transport.



5.  The outlet connections shall be so constructed that no material will leak out, 


run out to other than the point of discharge, and shall be of a design and type 


suitable for the material handled and capable of controlling the flow or discharge 


without spillage undue spray, or flooding immediate surroundings while in use.



6.  No connection shall be made at any time between a tap hydrant or outlet 


furnishing potable water on any premises and any container or equipment holding 


waste material by any means other than an open connection.



The sewage and wastes discharged by the tank trucks into the sewer system shall 


not contain industrial waste, chemicals, or other matter, with or without pre-


treatment that does not conform to the requirements of these Rules and 



Regulations.



Any sewage and industrial water to be discharged from tank trucks to the Sewer 


System shall be disposed of at the location designated by the Authority at the time 

or times fixed by the Authority.  All such discharges shall be subject to the written 

consent of and pursuant to written agreement of the Authority.


H.  No provisions of these Rules and Regulations shall be construed as preventing any 
special arrangement or agreement between the Authority and any Person whereby an 
industrial waste of unusual strength or character may be accepted by the Authority for 
treatment, subject to payment therefore by the Person concerned.

I.  Whenever a permitted User shall fail to comply with the rules and regulations of the 
Authority regarding industrial waste, the Authority may revoke the User’s permit and 
take whatever action is necessary to protect the Authority’s sewer system and treatment 
plant including without limitation capping the User’s line and preventing the discharge

into the Authority’s system.


J.  This Authority requires that all discharges of industrial waste will submit to this 
Authority a daily record of metered flows along with a daily analysis of the discharge 
using an analytical method in accordance with references of “Standard Methods, for the 
Examination of Water and Wastewater”.  (AWWA)  (WEF)


K.  This Authority reserves the right to impose surcharges in connection with any 
Industrial Wastes discharged into the Sewage system either by agreement with the Owner 
of the Improved Property or by modifications or alterations hereto.


L.  Basis for setting forth surcharges on Industrial shall be on strength in excess of the 
threshold limits of 225 mg/l for BOD5, 275 mg/l for Suspended Solids, Total Phosphorus 
of 10 mg/l, and 50 mg/l for Ammonia Nitrogen.  Surcharge rates shall be based on a unit 
cost per pound for waste in excess of these threshold limits.


In order to determine the additional charge for Industrial or Commercial Wastewaters 
with strength greater than that of domestic sewage, the following formula shall be used:


Monthly Surcharge = 0.00834 MI 
(BODI – 225) A + (SSI – 275) B







(P-10) C+ (NH3-N – 50) D


Where:
 0.00834 is a constant to convert waste strength express in mg/l to thousand 

pounds of waste.



QI = quarterly industrial waste flow expressed in million gallons.




BODI – 5 day BOD in mg/l of the Industrial or Commercial Waste.




SSI = Suspended Solids of Industrial or Commercial Waste in mg/l.




P = Total Phosphorus of Industrial or Commercial Waste in mg/l.




NH3-N = Ammonia Nitrogen of Industrial or Commercial Waste in mg/l.




225, 275, 10 and 50 = constants expressing waste load strength in mg/l 



for the 
respective pollution parameters.




A, B, C, and D = costs of treating 1,000 pounds of waste at the Authority’s 


wastewater treatment facility for the respective pollution parameters.  



These costs will change as operating costs increase, as capital additions 



are made or as flow at the facility changes.


When a value for BOD, suspended solids, Phosphorus, and Ammonia Nitrogen is less 
than the maximum allowable concentration set forth in the Industrial Waste Surcharge 
Formula, the maximum allowable concentration shall be used in the calculation of the 
Industrial Waste Surcharge.

ACCESS


This Authority or its authorized representative (Plumbing Inspector) shall have the right of access at reasonable times to any part of any Improved property served by the Sewage Collection System as shall be required for purposes of inspection, measurement, sampling and testing and for performance of other functions relating to service rendered by this Authority through the Sewage System.

INSTALLATION OF BUILDING SEWER


Building Sewer or Service Line shall be subject at all times to the inspection and 
approval of the Authority or its duly authorized representative who shall have supervision 
and control over the same.


A.  Size – Service Lines shall in no case be less than four inches in diameter.  Where 
double or multiple homes are permitted to be served by a common line under a special 
connection permit issued by the Authority, the double and multiple homes may be served 
with a four inch line, unless a larger line for a multiple home is required by the Plumbing 
Inspector.  An approved adaptor connecting the Service Line to the Lateral Sewer must 
be used.

B.  Material – Pipe used for Building Sewers or Service Lines shall conform to one of the 
following:   


1.  Solid wall PVC sewer pipe SDR (as listed herein) with a single socket “O” ring rubber 
gasket 
joint made in accordance with manufacturer’s recommendations.


 2. Recommendations for PVC pipe:


Gravity Sewers:
8” Diameter - SDR 35






6” Diameter - SDR 35 or SDR 26





4” Diameter - SDR 26



Pressure Sewers:
6” Diameter - SDR 21





4” Diameter and Less - SDR 21

  3.  UNDERGROUND PIPING OUTSIDE BUILDINGS – The building sewer shall be 
SDR 26 PVC pipe with rubber gasket joints. The pipe shall have a minimum inside 
diameter of four inches.


  4.  NEW UNDERGROUND PIPING PASSING THROUGH OR UNDER BUILDING 
SLABS- Only when authorized by an Authority Representative, may a property owner 
install a building sewer beneath a building or slab.  The building sewer shall be SDR 26 
PVC pipe with rubber gasket joints.


Owners wanting to connect the new building sewer to an existing building sewer, shall 

demonstrate to the Authority the satisfactory condition of the existing building sewer 
through visual inspection and air testing.  Approval to connect to the existing building 
sewer shall be noted on the connection permit.  If the existing building sewer does not 
meet the Authority’s requirements for Inspection and air testing, connection of the new 
building sewer shall be made as close to the structure as possible.  Connection of the new 
building sewer to the existing building sewer shall be made with approved transition 

fittings resulting in infiltration free construction.

Pipe shall be installed to prevent the admission of groundwater, shall be laid at a 
minimum grade of ¼ inch per foot with the best possible alignment, and shall have the 
maximum cover possible to protect the pipe from frost or crushing from the surface 
activity.

No transition from one pipe size to another or from one pipe material to another shall be 
made without the use of manufactured adaptors designed specifically for that purpose.  
All changes in direction shall be made with pipe fittings not greater than 45 degrees.  
Under certain conditions acceptable to the Authority, sweep 90 degree bends may be used 
and shall be so noted on the connection permit.

C.  PRESSURE LATERAL – The pressure lateral shall include the redundant check 
valve provided by the Authority.  This valve shall be located three feet from the curb 
stop.  The pressure lateral shall be 1 ½ -inch SDR 21 PVC (200 psi), pipe with rubber 
gasket joints, buried a minimum of four feet.  Thrust blocks shall be provided for all 
fittings and at all locations where horizontal and/or vertical deflections are made.

1. Earth dams shall be provided in the pressure lateral trench for the purpose of stopping the natural flow of water.  Earth dams shall be constructed at no greater than 50’ intervals.  All laterals constructed from layers of compacted soil.   The soil shall be placed by hand and compacted with tools designed for this purpose.
As a minimum the soil shall be placed and compacted in the following three layers:




A.  At pipe bottom




B.  On the pipe sides



C. 12 inches above the top of the pipe


D.  Bedding Material Requirements for Sewer Pipe – All types of pipe shall be bedded 
with five (5) inches of bedding material and backfilled with approved bedding material 
that is thoroughly compacted to a depth of at least 12” above the top of the pipe.



1.  Bedding material shall conform to AASHTO number 8, or commonly known 


as PA 1B crushed aggregate, in accordance with the Pennsylvania Department of 


Transportation’s Specifications.



2.  After the pipe has been installed, jointed, inspected and tested, the trench shall 


be backfilled with bedding material.  Backfill from the top of the pipe to a depth 


of twelve (12) inches over the pipe and the bedding material shall be as specified 


herein.   

From twelve (12) inches over the pipe to the elevation of final grade, backfill material 
shall be placed in uniform even twelve (12) inch layers and each layer shall be carefully 
and thoroughly compacted by hand operated mechanical tampers.  Backfill material 
within these layers may be placed by machine providing sufficient personnel are utilized 
to properly spread the material, to prevent the inclusion of objectionable material and 
attain complete compaction.

Backfill material from twelve (12) inches over the pipe to final grade shall be the material 
removed from the trench with the exception that no organic material or rock larger than 
six (6) inches shall be included in the backfill.


E.  Service Lines shall be laid on a grade of not less than one-quarter of an inch per foot 
(2%) for four inch pipes and one-eighth of an inch per foot (1%) for six inch pipes or 
larger.  Pipe slopes less than 2% can only be installed accurately with pipe laser and must 
be approved by the Authority.

F.  Service Lines must be as direct as possible.  Changes in direction must be made with 
“Y’s”, 
combination “Y” and eighth bends or half “Y’s”, or one-eighth bends.  Any 90 
degree change in direction shall include a clean out.  Changes in size where the Lateral 
Sewer is connected to the Service Line shall be made only with fittings.


G.  Ditches shall be promptly backfilled after inspection and approval by the Plumbing 
Inspector.  Care shall be taken to prevent damage to the pipe in backfilling and to secure 
a well compacted and firm trench.

H.  On existing improved properties as distinguished from future properties to be improved the Service Line shall be vented, trapped, and an inspection port be placed on the line beyond the building.



1.  Vents – Except those properties that are properly vented a vent shall be placed 


along the house sewer line at a location acceptable to the plumbing inspector.  


Vents risers shall extend a minimum of twelve (12) inches above the ground 


surface and shall be capped with a mushroom vent or double bend.  Vents shall be 

at least four inches in diameter.



2.  Traps – Each building shall be provided with a main building trap.  The trap 


may be located wherever possible within the cellar of the building or immediately 

outside the building wall.  Note:  The vent should be placed upstream of the main 


building trap.
3. Clean-outs – A clean-out shall be placed immediately following the building trap and at every 50-foot interval along the building sewer.  Clean-outs shall also be provided at every change in direction which exceeds 45 degrees.  The clean-out shall consist of a wye fitting in the run of pipe with a 45 degree bend and riser to the ground surface.  The riser pipe shall be provided with a metal panella and removable plug.

4. Inspection Port – An inspection port shall be placed at or near the septic tank.  The Authority is only responsible for the building sewer from the inspection port to the septic tank and to the sewer mains.  The sewer lateral from the building to the said clean-out is the sole responsibility of the property owner. 


Solids retaining tanks shall be constructed of concrete and shall be watertight.  An inlet baffle 
shall be provided and shall extend a minimum of six (6) inches below the top of the liquid level.  
Outlet port is to be equipped with a vented tee which extends below the liquid level to a distance 
equal to 40% of the liquid depth.  Each tank shall contain a six (6) inch inspection port located 
overtop the inlet baffle and minimum twenty (20) inch access port.  Inspection port is to extend 
to finish grade. Access port is to extend to twelve (12) inches below grade using precast concrete 
riser rings.


Tank sizing to be in accordance with the following:




EDU


TANK SIZE



1-2


1000 Gal.




3-5


2000 Gal.




6-12


4000 Gal.


Tank bedding requirements:



1.  1000 and 2000 gallon tanks




A.  Six (6) inches of select granular material



2.  4000 gallon tank




A.  Set tanks on a six (6) inch poured in place concrete slab.




B.  Pour slab over top of a minimum six (6) inch bed of select granular 



material



3.  All bedding material to be thoroughly compacted using mechanical tamping 


equipment.


The tank depth shall be determined by the Possum Valley Municipal Authority.


I.  A complete grease recovery unit as manufactured by Lowe Engineering Co., 
Thermaco, Inc, or equivalent shall be installed in the building sewer of restaurants and 
other commercial facilities involved in the preparation of food.  The grease recovery unit 
design must be submitted to the Authority and its consulting engineer for approval.

J. Basement floor drains may not be connected to the building sewer, except by special 
permission of the Authority, and if permission is granted by the Authority, the property 
owner(s) must assume the risk and expenses of having the basement floor drain 
disconnected at a later date because of ground water entering the building sewer and 
sewer system.


K.  The Authority reserves the right to require air testing for service lines.  The procedure 
for air testing is as follows:


Low-Pressure Air Tests – The sewer customer shall test each service line using low 
pressure air.  The low pressure air test shall be at 5 psi for 5 minutes.  All inflatable plugs 
shall be adequately braced for safety reasons.  

A minimum period of 2 minutes shall be provided to allow equilibrium of the air 
temperature with pipe wall before test reading shall commence.  In areas of high ground 
water conditions, the contractor shall determine the height of the ground water, and an 
adjustment may be required by the Authority Representative.

The contractor shall submit to the Authority for approval of the test procedure and list of 
test equipment he proposed to use prior to testing.


L.  Upon completion of each Service Installation, the Plumbing Inspector is to be notified 
and an appointment made for inspection.  All pipes and pipe joints must be visible and 
accessible to the Plumbing Inspector.  If the work is satisfactory, the permit, which must 
be on hand at the time of the inspection, will be endorsed and returned to the Owner.

SECTION II

SOLIDS RETAINING TANKS & PUMPING STATIONS

Should an improved property be required by the Authority to install a sanitary sewer 
solids retaining tank and/or a pumping station for collection and conveyance, the owner 
and its 
successors shall have full responsibility for using the pump station consistent with 
the manufacturer's instructions and shall avoid introducing into the wastewater system, 
materials that may damage the pump, conveyance system, and collection system or 
treatment facilities.  Furthermore the owner, at their own cost, will have the septic tank 
pumped on intervals as set forth by the Authority.  


The Authority shall bear no responsibility for the purchase, 
installation, use, operation, 
maintenance, service, repair, or replacement of the pump station or any component part 
thereof on the Property, except as otherwise set forth herein or as required by law.


Responsibility for already existing commercial property pump stations and septic tanks 
that are connected to the Authority’s system will be transferred to any new owner or 
successor for the improved property.
SECTION III
CAPITAL CHARGES FEE FOR SEWER SERVICE


A.  In addition to a permit, this Authority does hereby charge a Capital Charges fee, in 
the amount set forth in Paragraph B, hereof, against the Owner of any Improved Property, 
whenever such Owner hereafter shall connect any such Improved Property with a sewer 
main constituting a portion of the Sewer System, such charge being authorized by the 
Municipal Authorities Act.  Such Capital Charges fee is charged for connection of each 
such Improved Property by the Owner of such Improved Property.

B.  The amount of the Capital Charges fee for connection of each Improved Property to 
the Sewer System shall be in accordance with the Municipal Authorities Act and shall be 
subject to the rules and regulations in effect at time of connection.  Properties not 
intended to be served as part of the original contracts for construction will pay the stated 
Capital Charges fee in addition to any cost incurred by the Authority to provide service to 
the property. 


The Capital Charges fee for municipal sewerage shall be on an EDU (Equivalent 
Dwelling Unit) basis and shall be in accordance with the most recent version of the 
Possum Valley Municipal Authority’s Capital Charges Study Pursuant to the Municipal 
Authorities Act.  Each EDU shall be represented by a volume of wastewater generated by 
a typical residential dwelling unit as stated in the most recent Chapter 94 Report as 
prepared annually in accordance with the Pennsylvania Department of Environmental 
Protection.  The EDU’s for Non-Residential Units will be billed as per the category as 
listed in Section IV, Paragraph B, or will be based on metered rate.  Example:  If a 
business or professional office has one hundred (100) employees, this would constitute 
10 EDU’s.  Therefore the connection fee would be ten (10) times the amount to be paid 
by a typical single family residential unit.


C.  The Capital Charges fee and permit fee, together with any estimate of additional costs 
shall be due and payable at the time application is made by the Owner of any property to 
the Authority for a permit to connect such property with the Sewer System.  In the case 
where a Planning Exemption or Planning Module for Land Development is required, the 
Capital Charges fee will be payable upon approval of the Planning Module or Exemption 
and allocation of the requested capacity.

D.  The Capital Charges fees, permit fees, and costs shall be made payable to the Possum 
Valley Municipal Authority or representative of this Authority as shall be authorized 
from time to time, by resolution of the Authority, to accept payment thereof.

E.  The Authority reserves the right to periodically re-evaluate the User Classification of 
any customer.  If additional capacity is being used the Authority reserves the right to 
assess any additional capital charges due.  Evaluations are determined by, but not limited 
to, the proceeding Equivalent Category Schedule or if applicable the peak quarterly water 
usage for the year.
SECTION IV
SEWER RENTAL OR CHARGES

Sewer rentals or charges are imposed upon and shall be collected from the Owner of each Improved Property which shall be connected to the Sewer System, for use of the Sewer System, whether such use shall be direct or indirect, and for services rendered by the Authority which shall commence and be effective as of the date of connection of each Improved Property to the Sewer System, and shall be payable as provided herein, in accordance with the adopted schedule of rates and classifications as follows:

A.  Residential

Each Private Dwelling Unit shall be charged a monthly rate, billed monthly, rate to be 
determined by the Authority on a yearly basis.  Each Dwelling Unit in a double house or 
in a row of connected houses or in an apartment building shall be billed as a separate 
entity.  If two or more families use separate cooking and/or toilet facilities in an 
Improved Property, the sewer rental or charge payable hereunder shall be computed as 
though each such family was a separate user with a separate connection to a sewer.


B.  Non-Residential (Commercial, Industrial, Schools, Clubrooms, Taverns, Fire Houses, 
Professional Offices, Hotels, Restaurants, Churches, Service Stations, Garages, Barber 
Shops, Beauty Shops, Laundromats, Institutions, etc.):


1.  All Owners of non-residential Improved Properties connected to the Sewage Collection 
System shall pay a Rental at the rate as set forth in the following schedule:


Equivalent Category Schedule


Monthly Rate

1.  Each Retail Store…………………………..………up to 10 Employees = 1 EDU

2.  Each Business or Professional Office……………..up to 10 Employees = 1 EDU



3.  Each Business or Professional Office……………..up to 10 Employees = 1 EDU


      attached to Building for Public Transactions

4.  Each Hotel, Motel or Boarding House…………….2 Rooms = 1 EDU


     (in addition to restaurant)


5.  Each Restaurant, Club, Tavern…………………... every15 Employees or part thereof   = 1 EDU







              every 15 Seats or part thereof = 1 EDU




6.  Each Church………………………………………. = 1 EDU








with Kitchen Facilities = *

7.  Each Service Station or Auto Repair…………..….Garage Only = 1 EDU





    
                          
Garage with Car Wash = 3 EDU





8.  Each Car Wash…………………………………….1 Bay = 2 EDU 


9.  Each School (Students & Employees)………….…up to 18 Persons = 1EDU


10. Each Laundromat………………………………...2 Washing Machines (Single Load) = 1 EDU





            

              2 Washing Machines  (Double Load ) = 1.5 EDU


11. Each Bowling Alley……………………….……..5 Lanes = 1 EDU

12. Each Barber of Beauty Shop………………….….2 chairs or less = 1.5 EDU








Each chair over 2 = 1 EDU










if attached to a residence








For both (2 chair maximum) = 2 EDU

13. Each Industrial Establishment…………..………..
Up to 10 Employees = 1 EDU

      (excluding process waste)


14. Hospitals…………………………………………..Up to 10 employees = 1 EDU








2 Beds = 1 EDU


15. Nursing Homes………………………………..….Each Bed = 1 EDU


16. Personal Care Homes……………………..………Each 2 Residents = 1 EDU


17. Each Fire Company with Social Hall………..……= 1 EDU








 with Kitchen Facilities = *

18. Convenience Store, Combination, Gas/Grocery… = 3.5 EDU

19. Each Day Care Center……………………………3 through 9 Non Related Children = 1 EDU







Each Additional 6 Children = 1 EDU


* To be evaluated annually by The Authority based on the peak quarterly average flow for any given year.


2.  Sewer rentals and charges for schools payable hereunder shall be computed on 


the basis of the estimated number of pupils for purposes of this calculation.



3.  Sewer rentals and charges for businesses or industrial units payable hereunder 


shall be computed on the basis of the number of employees (including individual 


owners and employers and/or seats) as reported on Form 941 for the quarter 


ending September 30th of each year.



4.  If the Owner of any non-residential Improved Property (including any school) 


shall fail to return to this Authority its “Category Classification Form” by 



November 15th of each year with complete information required to compute the 


sewer rental and charge to such non-residential Improved Property, this Authority 


may estimate a reasonable applicable sewer rental and charge for such non-


residential Improved Property  such estimated sewer rental and charge shall be the 

actual sewer rental and charge payable until the required information is filed;  


provided, however, that no rebates will be paid by this Authority if the 



information filed reveals a lower indicated sewer rental and charge than that 


estimated by this Authority.


C.  If two or more Dwelling Units, stores, offices, industrial units, etc. are connected to 
the Sewage Collection System through a single Lateral; or if two or more types of use are 
made of the same Improved Property, the Sewer Rentals and charges payable hereunder 
shall be computed as through each such Dwelling Unit, store, office, industrial unit, etc. 
and each such type of use were a separate Improved Property or user with a separate 
connection to a Sewer.


D.  Additional classifications and Sewer Rentals or modifications of the above schedule 
of sewer rentals charges may be established by this Authority for time to time as deemed 
necessary.

E.  Nothing herein contained shall be deemed to prohibit this Authority from entering 
into separate agreements with Owners (including any school) with respect to Sewer 
Rentals to be imposed in those cases where, due to seasonal fluctuations or other unusual 
circumstances, the Sewer rentals or charges set forth herein shall be deemed by this 
Authority to be unfair or inequitable.


F.  The connection fee and permit fee, together with any estimate of additional costs shall 
be due and payable at the time application is made by the Owner of any property to the 
Authority for a permit to connect such property with the Sewer System.

G.  All connection fees, permit fees, and costs shall be made payable to the Possum 
Valley Municipal Authority or representative of this Authority as shall be authorized, 
from time to time, by resolution of the Authority, to accept payment thereof.

TIME AND METHOD OF PAYMENT

A.  All bills for sewer rentals or charges shall be rendered on the first day of each month, 
in each year, or on such other dates as this Authority by resolution shall specify, and shall 
cover a monthly billing period consisting of the immediately preceding month.


All bills for sewer rentals or charges based on estimates of this Authority shall be 
rendered for each month promptly after the estimates are made.


Owners of Improved Properties connected to the Sewage Collection System during any 
month shall pay a pro rata sewer rental or charge for service for the balance of that 
month.


B.  Sewer rentals or charges shall be due and payable upon the applicable billing date as 
provided for in subsection A of this Section III and the appropriate amount computed in 
accordance with this Resolution shall constitute the net bill.  If sewer rentals or charges 
are not paid within 30 calendar days after each billing date, an additional sum of $10.00 
shall be added to such net bills, which net bill, plus such additional sum shall constitute 
the gross bill.  Payment made or mailed and postmarked on or before the last day of such 
30 calendar day period shall constitute payment within such period.  If the 
end of such 30 
calendar day period shall fall on a legal holiday or a Sunday, payment made on or mailed 
and postmarked on the next succeeding weekday which is not a legal holiday shall 
constitute payment within such period.  Any bill not paid within said 30 day period shall 
be deemed delinquent, and will accrue interest at 2% per month.

CHANGE IN ADDRESS, OWNERSHIP OR TENANCY

A.  Every Owner of Improved Property which is connected to the Sewage Collection 
System initially shall provide this Authority with and thereafter shall keep this Authority 
advised of his correct address.  Failure of any Person to receive bills for sewer rentals or 
charges shall not be considered an excuse for nonpayment nor shall such failure result in 
an extension of the period of time during which the net bill shall be payable.

B.  Every Owner of Improved Property which is connected to the Sewage Collection 
System shall advise the Authority in writing on any change of ownership or tenancy of 
the Improved Property.  Failure to provide notice libels the initial property owner for any 
sewer rentals or charges that may accrue until such time as the Authority has been 
notified of an ownership or tenancy change.

ENFORCEMENT

Any person, partnership, corporation, or other legal entity who shall violate these Regulations shall be required to make restitution equal to the costs of repair or replacement of damaged Authority equipment.  Restitution shall not be limited to materials only but shall also indicate labor or time required for fact finding investigation into the cause of the damage together with reasonable attorney fees for enforcement.  Multiple offenses of these regulations shall warrant an additional $500 as part of said restitution.
The connection fees, surcharges, sewer rental fees, restitution fees, and/or penalty charges imposed by this Authority shall be a lien on the improved property connected to and served by the sewer system where such fees or charges are not paid as provided herein, which lien shall be filed in the Office of the Prothonotary of Adams County, Pennsylvania, as the case may be, and shall be collected in the manner provided by law for the filing and collection of municipal claims.  In addition, the payment of said fees imposed hereunder may be enforced by the Authority in any manner appropriate under existing laws at the time they 
become due and payable. 
SECTION V
ADDITIONAL PROVISIONS OF THIS RESOLUTION


A.  This Resolution shall become effective immediately upon date of adoption.

B.  Any Sewer rentals or charges deemed delinquent, pursuant to this Resolution, shall be 
cause for termination of service and shall be collected in any manner appropriate under 
laws at the time in effect.


C.  This Authority reserves the right to adopt, from time to time, such additional rules and 
regulations as it shall deem necessary and proper in connection with use and operation of 
the Sewage System, which rules and regulations shall be, shall become and shall be 
construed as part of this Resolution.


D.  This Authority shall in accordance with applicable federal guidelines, provide for 
annual review and revision of all user charges and revise them periodically, if necessary, 
to meet actual operation and maintenance expenses and records shall be maintained as are 
necessary to document compliance with future regulations on the Authority’s user 
charges.


E.  In the event any provision, section, sentence, clause or part of this Resolution shall be 

held to be invalid, such invalidity shall not affect or impair any remaining provision, 
section, sentence, clause or part of this Resolution, it being the intent of this Authority 
that such remainder shall be and shall remain in full force and effect.

Adopted and approved this________________________________


POSSUM VALLEY MUNICIPAL AUTHORITY


                                                                   Michael A. Johnson, Chairman
Attest:  _________________________________Harry M. Melhorn, Secretary/Treasurer
PAGE  
26

