POSSUM VALLEY MUNICIPAL AUTHORITY

MEETING 5/4/2026

MEETING MINUTES 4-9-26

Present:

Mike Johnson – Chairman

Chris Hartsock – Vice Chairman

Gerald Walmer – Secretary/Treasurer

Lee Pomraning – Assistant Secretary

Absent - Dave Wiser – Assistant Treasurer

Others: Plant Superintendent Stephen A. Russell, O.C. Chad M. Smith, Operator David R. Rupp Jr.

________________________________________________________________________

CALL TO ORDER – Mike Johnson called the Public Meeting to order at 6:25 PM.

Previous Meeting Minutes - After reviewing the March 5th meeting minutes, Chris Hartsock moved, seconded by Gerald Walmer to approve the minutes as written. The approving vote was 4-0.

Tyler Aspers – 125 Opossum Hill Road – Mr. Asper did not show up for the meeting.

SEWER OLD BUSINESS

Sewer Plant Upgrade – Dan Perva from KPI emailed an update and indicated KPI was delayed with the permitting and will need to push the funding request back.  Chad indicated this wasn’t the worst thing as it will better line with a potential grant award from the State in September 2026.

SEWER NEW BUSINESS

May meeting change – due to some conflicting schedules the Board changed the May public meeting to May 4th at 6:30PM.  Chad will advertise the change.

Operations Report (Dave Rupp)-

-3 Call outs last month for the sewer department

-Getting estimates from Chamberlin & Wingert for an underground wire replacement in the alley behind North Main St. in Bendersville.  The wire is faulty and is running the connected pumps at a higher amperage than it should be.  Also getting a quote for a manhole on Center Mills Road where Kinsley Construction black topped around it and now the lid needs to be brought up flush to the road, so it doesn’t make noise when traffic runs over it.

-Had 8 tank pumping’s last month.  Pecks Septic service reported one of the tanks has roots protruding the tank.  The Board requested to have all the septic tanks placed in the asset management plan so that gradually they can be replaced.

WATER OLD BUSINESS

New Reservoir- Still waiting on installation dates for the mixer to be added to the new reservoir.

WATER NEW BUSINESS

Insurance Claim- Chad reported he started a claim for storm surge damage, that occurred in March, for multiple pieces of equipment at the water facilities. Chad said that the claim could reach $10,000.

Superintendent Water Report (Steve Russell) –

-Steve attended the Penn State Conference and talked with several vendors.  He talked with the PaRural Water GIS guy, an alternative chemical company, and a company that can camera the sewer lines in the system.

-One Call-In last month for Walt Hays Well.

-Steve asked if it was ok for Chad to attend a Quickbooks seminar in Gettysburg next month.  The Board had no issue with it.

-Terry Sheldon is working on the plans for the water line replacement on Center Mills Road that will be funding by CDBG funding.

-Steve received a violation from DEP for not posting 4 sample results to the DEP website.

-Mid Atlantic will do the first reservoir inspection for free

-Exploring leak detection through L/B Water.

-Exploring I & I detection in the sewer system.

-Steve is in contact with a company that does manhole rehab.

-DEP has an Operator outreach program.

-Steve had test holes vacuumed out at the old reservoir to determine the size of the pipe.  It was 8” pipe, he was quoted for the valves needed at $6,270.84 to install a bypass around the old reservoir.

-Gate Opener at the reservoir went bad.  Got a new control board for $248.  A whole new set up was quoted at $7,904.99.

-Training in Hershey for April 22nd.

-Steve acknowledged Chad’s 20-year employment anniversary on April 20th.

-Steve is going on vacation April 18th-27th.

MONTHLY FINANCIAL BUSINESS

Delinquent Accounts review/discussion- Significant progress made on the list

Profit/Loss March 2026, Budget vs. Actual - Reviewed

March 2026 Checks Review/Approval – Chris Hartsock moved, seconded by Lee Pomraning, to approve the checks in March.  The approval vote was 4-0.

Payroll Summary & Cash on Hand – reviewed

Board will be doing Steve’s review after next public meeting.

Gerald Walmer moved to adjourn the public meeting, seconded by Lee Pomraning, approving vote was 4-0 and adjourned at 7:45pm

Respectfully submitted, Chad M. Smith – O.C.