POSSUM VALLEY MUNICIPAL AUTHORITY

MEETING 3/5/2026

MEETING MINUTES 2-5-26

Present:

Mike Johnson – Chairman

Chris Hartsock – Vice Chairman

Gerald Walmer – Secretary/Treasurer

Dave Wiser – Assistant Treasurer

Lee Pomraning – Assistant Secretary

Others present: Plant Superintendent Stephen A. Russell, Office Coordinator Chad M. Smith, Operator David R. Rupp Jr.

________________________________________________________________________

CALL TO ORDER – Mike Johnson called the Public Meeting to order at 6:22 PM.

Previous Meeting Minutes - After reviewing the January 8th meeting minutes, Dave Wiser moved, seconded by Lee Pomraning to approve the minutes as written.  The approving vote was 4-0.

SEWER OLD BUSINESS

Sewer Plant Upgrade – Dave Rupp reported that there was nothing substantially new on the plant upgrade from KPI.  They are continuing to work on plans, permitting, and funding.  Chad indicated that he would have a resolution ready, next meeting, that is required by Pennvest to apply for the funding.

Budget Draft 2026-2027 – Chad submitted a draft copy of the budget.  The Board will review and requested to have additional columns on the draft budget that shows last year’s budget amounts and differences.  Also, a report on the last 12 months of actual expenses would be beneficial to review.

SEWER NEW BUSINESS

Operations Report (Dave Rupp)-

-Dave Rupp reported, due to the prolonged extreme cold temperatures, that pipes in the sewer treatment tanks were freezing.  They’ve been trying to thaw them with torches.

-Ketterman Electric installed new electric service line from 1616 Center Mills Road to the pump station in their front yard.  It was also witnessed that an uncapped pipe was allowing infiltration into the basin.  The pipe will be capped in the coming days.

-

WATER OLD BUSINESS

New Reservoir- the new tank was inspected, and the Operational permit was issued. The new tank is in service.  The meter in the pit is reading in liters and that would need addressed.  Monark was out to fix a leak in the meter pit, however, it’s still leaking and will need to be refixed.

WATER NEW BUSINESS

Superintendent Water Report (Steve Russell) –

-The Booster Station has been repaired.

-29 Aspers North Road was discussed and options to serve an attorney letter

-Steve indicated that Doug Hays would be willing to be an inspector onsite when the sewer           plant upgrade construction begins.

-Steve said that trying to sell bulk water would be expensive with permitting involved and backflow prevention being necessary.

MONTHLY FINANCIAL BUSINESS

Delinquent Accounts review/discussion- Chad asked the Board to consider enacting a fee for issuing a 10-day water shut off notice.  Bendersville Borough charges $100 per notice.  Chris Hartsock moved, seconded by Lee Pomraning to enact a $50 additional fee for issuing a 10-day water shutoff notice. Approving vote was 5-0.  The Board requested that Chad compile a summary of procedures for water shutoffs so that it can be made standard policy.

Chad also requested that the Board consider revoking the water and sewer permits according to the PVMA rules & regulations for 1611 Center Mills Road.  Chad has exhausted all attempts to collect the delinquency for this property.  Gerald Walmer moved, seconded by Chris Hartsock, to revoke the permits immediately.  Late charges will continue however if the property is sold the buyer will need to reapply for Sewer and Water connection permits and pay all related fees.

Profit/Loss January 2026, Budget vs. Actual - Reviewed

January 2026 Checks Review/Approval – Lee Pomraning moved, seconded by Gerald Walmer, to approve the checks in January.  The approval vote was 5-0.

Mike Johnson called for an Executive Session to discuss legal matters at 7:45 Pm

Executive meeting adjourned at 7:53PM.

Chris moved to adjourn meeting at 7:55pm, seconded by Dave.  Approved 5-0.

Respectfully submitted, Chad M. Smith – O.C.